## question_AFM_gpt
GPT_3.5_TURBO | Query type | With RAG | With RAG | With RAG | Remarks | with RAG | With RAG | With RAG | With RAG | With RAG | With RAG | Without RAG |  | Without RAG | Without RAG | Without RAG
question | b/multi_b/adv | Code Correctness(try1) | Code Correctness(try2) | Code Correctness(try3) |  | Not following instruction | Syntax Error and | Code Error and Wrong Function | hallucination | response latency | Token usage | Code Correctness | Remarks | hallucination | response latency | Token usage
Set the I gain to 1000 in the AFM software. | b | n | y | n |  | 0 | 1 | 1 | 0 | 5.91 | 940
Set the $\frac{time}{line}$ to \pu{1 s} in the AFM software. | b | n | n | n | different code, synatx error,hallucinating | 0 | 1 | 0 | 1 |  |  | n | Wong object | 0
Set setpoint to \pu{200 nN} in the AFM software. | b | n | n | n | same CODE, USES LITHO.ADDCMD_SET_POINT | 1 | 0 | 1 | 1 |  |  | n | wrong object | 0
Set image size as $100 \times 100 \pu{nm}$ in the AFM software. | multi_b | n | n | n | same code,not code for image height to 100 nm | 1 | 0 | 1 | 1 |  |  | n | wrong object, wrong code in units | 0
Set image rotation to \pu{20 degree} in the AFM software. | b | y | y | y | same code, a bit hallucinating | 0 | 0 | 0 | 0 | 3.437 | 899 | n | wrong object | 0
Set overscan to $5 %$ the AFM software. | b | n | n | n | same code, wrong function | 0 | 0 | 1 | 1 |  |  | n | wrong object | 0
Bring the AFM tip to the sample surface. | adv | n | n | n | same code, uses startadvanced, multiple repeatetion of same step | 1 | 0 | 1 | 1 |  |  | n | wrong code | 1
Retract the AFM tip from the sample surface. | adv | y | y | y | repeatetion of same task | 1 | 0 | 0 | 0 | 5.178 | 1218 | n | wrong code | 1
Change the cantilever tip to Multi75AL-G in the AFM software. | adv | n | n | n | similar code, wrong function | 0 | 0 | 1 | 1 |  |  | n | wrong code | 1
Change the AFM operation mode to dynamic force mode in the AFM software. | b | n | n | n | same code,wrong function. | 1 | 0 | 1 | 1 |  |  | n | wrong syntax, correct code, unlike with RAG | 0
Capture an image by setting a $\frac{time}{line}$ that ensures the scanning is completed within 30 seconds. | adv | n | n | n | similar code, wrong functions, extra step | 1 | 0 | 1 | 1 |  |  | n | wrong syntax, correct code, wrong code for image capture, unlike with RAG | 0
Withdraw the AFM tip from the sample surface. | adv | n | n | n | similar codes for try1 and try3 , no stop also , and start retract is used at first | 1 | 0 | 1 | 1 |  |  | n | wrong object, function | 0
Capture an image by scanning from the top to bottom direction. | adv | n | n | n | wrong functions, extra steps | 1 | 0 | 1 | 1 |  |  | n | similar error in function as with RAG, NO CODE FOR IMAGE CAPTURE | 1
Start capture the image of the current sample and get the number of datapoints during the forward and backward measurement | adv | n | n | n | wrong function , syntax error | 1 | 1 | 1 | 1 |  |  | n | wrong object, but correct code, unlike RAG | 0
Capture an spectroscopy image of a sample with total 256 lines | adv | n | n | n | no code for capturing image | 0 | 0 | 1 | 1 |  |  | n | wrong object, but correct code, unlike RAG | 0
Move tip to -5 um , -5 um position in the current image plane | b | n | n | n | similar code, wrong units | 0 | 1 | 1 | 1 |  |  | n | wrong code, similar to with RAG | 1
Get the value of laser power | b | y | y | y | same code | 0 | 0 | 0 | 0 | 3.331 | 883 | n | wrong object | 0
Get the all positions of detector | multi_b | n | n | n | try1 and try2 have wrong functions, try3 is hallucinating, extra steps | 1 | 0 | 1 | 1 |  |  | n | wrong code, hallucinating | 1
Get the deflection sensitivity and spring constant currently used in AFM Software | multi_b | y | y | y | similar code, sleepwalking | 0 | 0 | 0 | 0 | 4.105 | 1141 | n | wrong object, but correct code | 0
Get the offset of image plane from Z axis and number scan lines in the current image frame | multi_b | y | y | y | same code | 0 | 0 | 0 | 0 | 3.819 | 843 | n | wrong object, but correct code | 0
Set the operating mode of AFM to Dynamic force mode and get the resonance frequency between 20000 and 50000 | adv | n | n | n | similar code, hallucinating ,wrong function | 0 | 1 | 1 | 0 |  |  | n | wrong object, but correct code unlike other llms | 0
Get the current position of Z motor and set it to zero | multi_b | n | n | n | same code, wrong function for z motor position | 0 | 0 | 1 | 1 |  |  | n | wrong object | 0
Approach the sample slowly with a speed of 10 | adv | n | n | n | same code, wrong fucntion for approoach | 0 | 0 | 1 | 1 |  |  | n | wrong code, hallucinating | 1
Approach the sample slowly with max 20000 steps and check if it is reached , if its reached then stop the z motor | adv | n | n | n | similar code, wrong function for approach | 0 | 0 | 1 | 1 |  |  | n | wrong code | 1
Get the reference position and current configuration | multi_b | y | y | y | same code | 0 | 0 | 0 | 0 | 4.8704 | 596 | n | wrong object, correct code | 0
Get the size of the current chart in pixels and set it to 512 | multi_b | y | y | y | same code | 0 | 0 | 0 | 0 | 2.649 | 694 | n | wrong object ,correct code | 0
Return the all the data in the 10th line and fit it to polynomial and return the data in 32 bit format | multi_b | n | n | n | wrong function for 32 bt format , / wrong function | 1 | 0 | 1 | 1 |  |  | n | wrong object, similar approach as other llms | 0
Get the current mode and cantilever in use | multi_b | n | n | n | wrongs function like other llms | 1 | 0 | 1 | 1 |  |  | n | wrong object, correct code | 0
Set the vibrating amplitude of the cantilever to $50\pu{mV}$ in dynamic mode | adv | n | n | n | wrong code or hallucinating | 0 | 0 | 1 | 1 |  |  | n | wrong code, hallucinating | 1
Capture a new slope corrected image . | b | n | n | n | same code, hallucinating, no code for capturing image | 1 | 0 | 1 | 1 |  |  | n | wrong code, hallucinating | 1
set the image width such that it can move at max 500 um with a overscan of 10 | adv | n | n | n | wrong code , hallucinating, extra step | 1 | 0 | 1 | 1 |  |  | n | wrong code, hallucinating | 1
Capture a new contour enabled image . | adv | n | n | n | no code for capturing imge | 1 | 0 | 1 | 0 |  |  | n | wrong object, correct code | 0